Outdoor-Lighting Ordinance of Cloudcroft, NM

Below is the outdoor-lighting ordinance for the town of Cloudcroft, New Mexico, which was formally approved and adopted at the June 1995 meeting of the Cloudcroft Village Council. The Ordinance (No. 267) had been pre-published three times in the Newpaper before final adoption. Only one minor objection was registered from a citizen, who, however, did not attend the final adoption meeting. Supplied courtesy of Warren Offutt, who wrote it:

ORDINANCE NO.  267

AN ORDINANCE ADOPTING A NEW CHAPTER 7, ARTICLE 7 TO THE

CLOUDCROFT CODE REGULATING THE INSTALLATION OF OUTDOOR

LIGHTING.

BE IT ORDAINED BY THE GOVERNING BODY OF THE VILLAGE OF

CLOUDCROFT, that a new Chapter 7, Article 7 to the Cloudcroft Code

is adopted to read as follows:

7-7-1  Purpose and Applicability.

(a)   The purpose of this ordinance is to improve nighttime public

safety, utility and security by restricting the night-time emission

of light rays which are the source of light trespass and/or

unnecessary glare, and/or are detrimental to the safety and/or

security of persons, property or vehicular traffic, and/or are

detrimental to the traditional aesthetic values of the Village,

and/or unnecessarily restrict persons from the peaceful enjoyment

of their property, and/or are detrimental to astronomical

observations.  The provisions of this chapter shall apply to all

outdoor lighting devices for illumination or advertisement and

installed after the effective date of this ordinance, except as

hereinafter otherwise specified.

(b)  The provisions of this chapter, except for Section 7-7-5 (a)

and Section 7-7-5 (c), do not apply to glass tubes filled with

neon, argon or krypton, or to outdoor advertising signs constructed

of translucent material and illuminated wholly from within.

However, after January 1, 1998, newly installed or replaced outdoor

advertising signs constructed of translucent material and

illuminated wholly from within shall be of the type having dark

background with bright/colored characters. Such signs having bright

background with dark or colored characters shall not be installed

after January 1, 1998.

7-7-2  Effect on Other Codes.

The provisions of this ordinance are intended to supplement

other applicable codes and requirements.  Compliance with all

applicable provisions of building, electrical and other codes must

be observed.  In the event of a conflict between the requirements

of this code and other requirements, the more stringent requirement

shall apply.

7-7-3  Shielding.

General Requirements.  Except as otherwise provided below or in

Section 7-7-1 (b) above,  all outdoor lighting devices or fixtures

shall be shielded in such a manner that light rays emitted by the

device or fixture, whether directly from the lamp or indirectly

from the fixture, are restricted to regions below an angle 15

degrees beneath the horizontal plane running through the lowest

point on the fixture where light is emitted. No significant

intensity of light shall be emitted from the fixture horizontally,

nor above the horizon, nor above the region defined above.

In general, all outdoor lighting shall be downward directed except

where specified otherwise in this Chapter.

(Note:  Luminaires meeting restricted emission requirements are

sometimes described commercially as hooded, shielded, or full cut-

off fixtures, however, not all luminaires so designated meet the

above angular requirement.)

7-7-4  Light Pollution; General Requirements.

(a)   One hundred twenty (120) days following the effective date

of this ordinance, only shielded outdoor light fixtures which

conform to the requirement of Section 7-7-3 may be installed.

(b)   After the effective date of this ordinance, only shielded,

low pressure sodium outdoor lighting fixtures may be newly

installed to provide illumination for public streets.

However, in the event that the Otero County regulations permit high

pressure sodium lamps for general street and highway lighting, or

for other good and sufficient reasons, high pressure sodium lamps

may be used instead of the low pressure sodium lamps as specified

in this paragraph (b) upon written approval of the Village Council.

In the case of the replacement (see Section 7-7-6) of light

fixtures installed to provide illumination for public streets, if

existing circuitry does not permit replacement of an individual

light fixture with a low-pressure sodium light fixture, high

pressure sodium may be used instead.

Regardless of lamp or fixture type, the shielding requirements of

Section 7-7-3 are applicable.  Additional shielding to eliminate

light trespass onto adjoining residential properties shall be

installed if requested by the residential property owner or

occupant.

(c)   All outdoor light fixtures maintained on public or private

property, whether installed before, on or after the effective date

of this ordinance, shall be turned off between 11:00 PM (local

time) and sunrise except when used for:

(1)    Commercial and industrial uses (such as sales, assembly

and repair areas) where business is conducted after 11:00

PM, but only while the business is open to the public;

(2)    Illuminated advertising signs on the premises of a

business while it is open to the public;

(3)    Lighting necessary for security purposes or to illuminate

walkways or roadways;

(4)    Recreational use that continues after 11:00 PM, but only

for so long as such use continues.

(d)   The outdoor operation of searchlights, lasers or other high-

intensity beams is prohibited.

7-7-5  Other Requirements.

(a)   Flashing Lights.  The use of flashing, rotating or pulsating

lights in/on any outdoor sign or other lighting device is

prohibited after one (1) year from the effective date of this

ordinance.  This provision shall not apply to flashing, rotating

or pulsating lights intended to warn of hazards and danger.

(b)   Light Trespass and Residential spill-over.   In addition to

the general provisions of this Ordinance, offstreet lighting shall

be shielded and/or directed in such a manner that it illuminates

only the user's premises and does not spill over into neighboring

residential areas so as to interfere with the peaceful enjoyment of

residential or public properties.

(c)   No lighting fixture or device may be operated in such manner

as to constitute a hazard or danger to persons, or to safe

vehicular operation.

(d)   Signs and BillBoards.  Illuminating fixtures for advertising

or other signs shall be such that the illumination is confined to

the area of the sign or billboard; no significant direct spill-over

is permitted.  Under no conditions may signs or billboards be

illuminated from below.  Any such illuminating fixture shall be

placed above its respective sign or billboard such that the

secondary (specular) reflected light from the surface of the sign

or billboard is directed down toward the ground.

(e)   Motion Detector Security Lights.   Motion detector security

lights, which are normally "off" and which are activitated "on" for

less than 4 minutes occasionally when motion is detected, are

exempt from strict control of emission angles as defined in Section

7-7-3, but are not exempt from Sections 7-7-5 (b) or (c).

(f)   Outdoor Recreational Facilities.  Outdoor recreational

facilities designed for specifically scheduled sporting events are

exempt from the specific shielding requirements of Section 7-7-3.

In its place, lighting for outdoor recreational facilities shall be

so designed, installed and operated as to confine at least 90

percent of the illumination to the recreational area. Recreational

facility fixtures shall be on elevated poles or structures so that

illumination is directed downward.  No significant illumination may

extend above a horizontal plane from the lighting fixture.

Illumination from recreational facility fixtures shall be shielded

to minimize glare extending toward roadways or other places where

impairment of motorists' vision might cause hazard.  All such

recreational facilities shall have either (a) automatic shut-off

timer devices, or (b) a designated official with responsibility for

extinguishing the illumination at close of the recreational

activity.

(g)   In the case of flags, statues or other top-of-pole mounted

objects which cannot be illuminated with down-lighting, upward

lighting may be used only in the form of one narrow-cone spotlight

which confines the illumination to the object of interest.

7-7-6   Nonconforming Fixtures "Grandfather Provision".  Except as

provided in Section 7-7-5, all outdoor lighting fixtures existing

and legally installed and operative before the effective date of

this ordinance are exempt from the requirements of this Ordinance.

Whenever a nonconforming fixture is replaced or moved, the

replacement thenceforth shall meet the requirements of this

ordinance.

7-7-7 Special Exemptions.

(a)   Decorator lamps smaller 25 watt rating, or strings of up to

25 such lamps, used for holiday decorations are exempt from the

requirements of this Chapter within 15 days of recognized annually

occurring holidays.

Decorator lamps smaller than 7.5 watt rating may be used in any

desired string length under the same circumstances.

(b)   Request for temporary exemption from the provisions of this

Ordinance may be submitted to the Village Council in written form

describing the reason for the request and the nature of the

request.  If approved and granted in writing by an authorized

representative of the Village Council, such exemption shall be in

force for not more than 30 days.  Request for a maximum of one 15

day renewal may be made in similar manner.

7-7-8   The installation, sale, offer for sale, lease or purchase of

any fixture not in comformance with this Ordinance is prohibited

after January 1, 1998.

The installation, sale, offer for sale, lease or purchase of any

mercury vapor lamp or lamp fixture for outdoor use is prohibited

after January 1, 1998.

7-7-8   Effective Date.  The effective date of this ordinance shall

be five (5) days after the publication of Notice of Adoption by

title and general subject matter in the Alamogordo Daily News.

7-7-9   Penalty.  Violations of this ordinance shall be subject to

the general penalty provisions contained in Section 1-1-8 of the

Cloudcroft Code.

7-7-10  Severability.  The provisions of this ordinance are

severable, and if any provision of this ordinance or the

application thereof to any person or circumstance is held invalid,

the invalidity does not affect other provisions or applications  of

the ordinance which can be given effect without the invalid

provisions or applications.

PASSED, APPROVED AND ADOPTED this _____day of__________, 1995.

___________________________________

Mayor

ATTEST:

______________________________

Village Clerk